Weekly Tasks

Running or flushing of Outlets

| Date | Area | Outlet Hot or cold/ blended | Comments | Signature |
| --- | --- | --- | --- | --- |

Please run weekly for several minutes, preferably Monday morning prior to the start of school outlets that are little used. This would be a tap, toilet, shower or perhaps a hose tap. Most or all outlets will be little used during holiday periods, extra care should be taken prior to school opening after a break.

Quarterly Tasks

Cleaning & Disinfection of Showers / Spray tap inserts

| Date | Area | Comments | Print name | Signature |
| --- | --- | --- | --- | --- |

Monthly temperature profiles

| Date | Area/ Room No | Outlet description | Temperature ˚C HOT / COLD | Mixer Valve | Comments | Initial |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |
|  |  |  | ˚C ˚C | ˚C |  |  |

When taking hot water temperatures, please ensure you run the hot tap for one minute and achieve 50ºC or above.

Blended outlet may need up to 2 minutes and should be 38ºC to 43ºC maximum.

Cold water should be run for 2 minutes and be below 20ºC.