## Maintainance tasks
WESTBURY-ON-TRYM ACADEMY PREMISES REPORT |  |  | NOTE: The number after an entry = number of occurances
Sept. - |  |  | NOTE: Room numbers are not given by assigned numbers (Please see info.)
CONTRACTORS | PLANNED MAINTENANCE - when done, time it took, cost | ROUTINE TASKS | RESPONSE MAINTENANCE - what done, time it took, date, cost | HEALTH AND SAFETY - what done, date, time it took, cost | VANDALISM, Police Reports & Alarm Activations - what, when, crime reference number | 5 Year Maint. Plan - quote obtained, cost
Who, Average price per callout
Security callout £50.00
Plumber (Avg. £50.00)
Electriction (Avg. £70)

## Inpections carried out
INSPECTIONS CARRIED OUT
Month | Weekly | Monthly | Quarterly | Bi-Annual | Annual | 5 Yearly
A27A25:G60A23:A5:G60

## Inspection list & Info.
Frequency | Item Inspected/Serviced | Room #'s | Assigned
Daily | Playground Equipment (visual)
Fire Fighting Aparatus (visual)
Fire Exits (visual)
Check Fire Alarm panel for normal operation (visual)
Emergency Lighting check for indicator lights
Lead on roof (Visual)
Weekly | Fire Alarm Call Point Test
Emergency Lights (1 area only)
Automatic Door release (tested when fire alarm call point is tested
Fire Doors (visual)
Monthly | Emergency Lighting
Fire Doors (recorded)
Fire Extinguishers (visual)
Legionela Temp. test
Playground Equipment (logged)
Record Gas & Electric meter readings
Fire Safety Inspection
Check Salt level in softener
Check operation of Platform Lift (recorded)
Quarterly | Playground Equipment (recorded)
Flushing of showers (recorded)
Fire alarm service
6 Months | Ladder/Steps Inspection
Air Conditioning Systems
Emergency lighting (1 hour duration test)
Power assisted door (recorded)
Platform Lift
Automatic Doors
Refrigeration Equipment
Yearly | Folding Partition Wall
Dining room Folding Tables
Control of Substances Hazardous to Health (COSHH) R/A's
Poprtable Appliance Test (PAT)
Extraction Systems
Fire Fighting Equipment
Gas Catering Equipment
Electrical Catering Equipment
Playground Equipment (ROSPA)
Sports Hall Equipment
Storage Tank condition/compliance (visual)
Low Pressure system (visual)
Mixer Valve inspect/clean
Emergency Lighting (3hr. Drain test)
Stage Lighting servicing/cleaning
Plant Servicing
Windcatcher Servicing
Door Entry Equipment
5 Year | Fixed electrical installations
Tree Servey
Air conditioner service report